## Slide 1: ENGI 301 6 Finger Augmentation with Variable Grip Through Usage of Potentiometer
9/25/22
Paul Kim

## Slide 2: Background Information
What is being proposed?
  https://www.hackster.io/amalmathewtech/3d-printed-prosthetic-hand-with-capacitive-touch-sensing-6b0ebe
  Background: 3D Printed Prosthetic Hand with Capacitive Touch Sensing Project has been made to “grip” items for the actuation of fingers but:
    made use of 2 capacitive sensors for external control
    single motor for an entire hand
    Arduino Setup
Improvement
  Adjust the setup to develop a new usage of 6th finger augmentation
    Modify hand design to incorporate sensor if needed
  Allow for adjustable grip to allow for better griping controls by using a potentiometer
    Can be modified to use capacitive/resistive sensors
    Add in a hex display to show “Grip-level”
    Add in lights to show on/off state

## Slide 3: System Block Diagram

## Slide 4: System Block Diagram
PocketBeagle
1.8V (P1_18)
AIN
(P1_19)
Potentiometer
PC Host
USB
AGND (P1_17)
GPIO
(P2_6)
Hex Display
SCL
SDA
GND
VCC
3.3V
GPIO
(P2_4)
SPI
SDA
μUSB
I2_C1_SPI
(P2_9)
I2_C1_SDA
(P2_11)
3.3V
1k
GPIO
(P2_2)
3.3V
1k
3.3V
1k
Servo
VCC
5 V (P1_24)
Signal
GND (P1_22)
GND
PWM0_A
(P1_36)

## Slide 5: Power Block Diagram
PocketBeagle
PC Host
USB
GPIO
(P2_6)
Hex Display
SCL
SDA
GND
VCC
3.3V
GPIO
(P2_4)
SPI
SDA
μUSB
I2_C1_SPI
(P2_9)
I2_C1_SDA
(P2_11)
3.3V
1k
3.3V
1k
Servo
VCC
5 V (P1_24)
Signal
GND (P1_22)
GND
PWM0_A
(P1_36)
Peak Power Dissipation :75 mW
Peak Current :20 mA
Operational Voltage: (4.8~6 V)
Peak Power Dissipation : 550 mW
Peak Current :20 mA
Peak Power Dissipation :100 mW
Peak Current :100mA

## Slide 6: Components / Budget
Component | Need to Buy | Cost
All components present in OEDK/Box Provided |  | 
Check following for build instruction and all present components. https://www.hackster.io/pkim7035/6-finger-augmentation-with-beaglebone-d0ea5d |  | 
Need all components to be purchased by instructor listed; additional components may be purchased by student